Gældende for DTU Risø Campus, November 2020

- Follow the instructions issued via the PA system

- Follow instructions received from DTUalarm (SMS alerts)

- Monitor Inside for updates

7

Follow the instructions given

- This is located near XXXX

6

Go to the building’s indoor assembly point

- Stop ventilation systems, where possible and sound

(consider your own safety)

5

Stop ventilation systems

- Inform others to do the same

4

Close all doors and windows

- Make your way immediately into the nearest safe building

- Inform others to do the same

3

Invacuation (go indoors)

- The siren warning is activated by the Gate. A 15-second constant tone will be played over the PA system

2

Siren warning

- Call 1 1 2 in case of acute danger

- Inform the Gate (portvagten) – call (+45) 46 77 44 44

- Inform DTU’s Emergency Management – call (+45) 45 25 33 55

1

Raise the alarm

Radioactive leak to outer environment